Defects list

Defect register and rectification tracking

One line per defect. Give each a precise location, a photo reference and a responsible trade. Record the fix and who checked it, and have the owner sign off completed items.

1. Project details

| Site address |  | Owner / client |  |
| --- | --- | --- | --- |
| Builder |  | Contract / job number |  |
| Inspection that raised these items Pre-handover, practical completion, end of defects period, owner report |  | Inspection date |  |
| Practical completion date |  | Contractual defects period ends |  |

2. Categories and priority

Category: S = safety, W = water entry or leak, F = function (does not work), C = cosmetic or finish, I = incomplete work. Priority: 1 = urgent (safety or water entry, act now), 2 = fix within the agreed period, 3 = fix at next scheduled visit.

3. Defects register

| # | Location | Defect description | Photo | Cat. | Pri. | Trade | Agreed fix | Due | Fixed / checked | Owner OK |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| EXAMPLE 1 | Ensuite | Shower screen door rubs on bottom seal when closing | P04 | F | 2 | Glazier | Adjust hinges; replace seal if damaged | 7 days |  |  |
| EXAMPLE 2 | Rear elevation | Downpipe not connected to stormwater at base | P11 | W | 1 | Plumber | Connect to stormwater riser and seal | 2 days |  |  |

4. Items not accepted as defects

Record the reason, and any evidence, rather than leaving items open.

| # | Item | Reason (e.g. within tolerance, owner damage, not in contract) | Evidence |
| --- | --- | --- | --- |

5. Sign-off

The owner confirms the items marked "Owner OK" have been completed to their satisfaction.

| Builder |  | Signature and date |  |
| --- | --- | --- | --- |
| Owner |  | Signature and date |  |