Inspection and test plan

Quality inspections, hold points and records

Prepare before work starts. Do not proceed past a hold point (H) until it is inspected and signed. Give notice for witness points (W). Attach or reference the record for each line.

1. Project details

| Project |  | Site address |  |
| --- | --- | --- | --- |
| Client |  | Principal certifier |  |
| Drawings and specification (revisions) |  |  |  |
| Prepared by |  | Date and ITP revision |  |

2. Key

H = Hold point: work must not proceed beyond this point until the inspection is done and signed. W = Witness point: give the inspector notice so they can attend; work may continue if they do not. R = Record review: documents or certificates checked, no site attendance needed.

3. Inspection and test plan

| # | Activity | Acceptance criteria / reference | Check method | Type (H/W/R) | Inspected by | Record | Signed / date |
| --- | --- | --- | --- | --- | --- | --- | --- |
| EXAMPLE 1 | Set-out | Survey plan; setbacks and levels on approved plans | Surveyor check | H | Surveyor | Set-out certificate |  |
| EXAMPLE 2 | Footing excavation | Engineer's drawings; founding material | Visual, measure | H | Principal certifier | Inspection record |  |
| EXAMPLE 3 | Slab reinforcement and membrane | Structural drawings; AS 2870 | Pre-pour checklist | H | Certifier / engineer | Checklist, photos |  |
| EXAMPLE 4 | Frame | Engineering; truss layout; AS 1684 | Frame checklist | H | Principal certifier | Checklist, truss certificate |  |
| EXAMPLE 5 | Wet area waterproofing | AS 3740; manufacturer system | Waterproofing checklist, flood test | H | Builder / certifier | Checklist, certificate |  |
| EXAMPLE 6 | Plumbing rough-in | Plumbing standards; pressure test | Pressure test | H | Plumber | Test result |  |
| EXAMPLE 7 | Pre-lining | Insulation schedule; BASIX; services | Pre-plasterboard checklist | H | Builder | Checklist, photos |  |
| EXAMPLE 8 | Final inspection | Approved plans; certificates | Final walk-through | H | Principal certifier | Occupation certificate |  |

4. Non-conformances

Work that does not meet the acceptance criteria. Record, fix, re-inspect.

| ITP # | Non-conformance | Action | Re-inspected by | Closed (date) |
| --- | --- | --- | --- | --- |

5. Completion

| All hold points signed? |  | All records filed? |  |
| --- | --- | --- | --- |
| Completed by |  | Date |  |