Site safety inspection checklist

Weekly workplace inspection for building sites

Tick Yes if the item is in place and satisfactory, No if it needs action (record it in section 9), N/A if it does not apply to the current stage.

1. Inspection details

| Site / project |  | Date |  |
| --- | --- | --- | --- |
| Inspected by |  | Accompanied by |  |
| Current stage of work |  | Trades on site today |  |

2. Site security, access and signage

| # | Check | Yes | No | N/A | Comments / action |
| --- | --- | --- | --- | --- | --- |
| 1 | Perimeter fencing secure, no gaps, gates lockable | ☐ | ☐ | ☐ |  |
| 2 | Site sign with principal contractor name and after-hours contact | ☐ | ☐ | ☐ |  |
| 3 | Safety signage at entry (PPE, induction, visitor sign-in) | ☐ | ☐ | ☐ |  |
| 4 | Sign-in register in use | ☐ | ☐ | ☐ |  |
| 5 | Safe pedestrian access separate from vehicles | ☐ | ☐ | ☐ |  |
| 6 | Delivery and set-down areas defined, not on edges or paths | ☐ | ☐ | ☐ |  |
| 7 | Footpath and road kept clear; any permit conditions met | ☐ | ☐ | ☐ |  |
| 8 | Neighbouring properties protected (runoff, debris, overhang) | ☐ | ☐ | ☐ |  |

3. Working at heights

| # | Check | Yes | No | N/A | Comments / action |
| --- | --- | --- | --- | --- | --- |
| 1 | Edge protection in place on slab edges, roofs, balconies, stairs and voids | ☐ | ☐ | ☐ |  |
| 2 | Floor openings and penetrations covered, secured and marked | ☐ | ☐ | ☐ |  |
| 3 | Scaffold tagged, tag current, inspected within the required period | ☐ | ☐ | ☐ |  |
| 4 | Scaffold complete: guardrails, mid-rails, toe boards, access, no missing planks | ☐ | ☐ | ☐ |  |
| 5 | Only competent people altering scaffold | ☐ | ☐ | ☐ |  |
| 6 | Ladders in good condition, correct type, set up and secured properly | ☐ | ☐ | ☐ |  |
| 7 | Mobile scaffolds and platforms on level ground, wheels locked | ☐ | ☐ | ☐ |  |
| 8 | Harness and anchor systems inspected and used where required | ☐ | ☐ | ☐ |  |
| 9 | Exclusion zones below overhead work | ☐ | ☐ | ☐ |  |

4. Plant and equipment

| # | Check | Yes | No | N/A | Comments / action |
| --- | --- | --- | --- | --- | --- |
| 1 | Pre-start checks completed and recorded for mobile plant | ☐ | ☐ | ☐ |  |
| 2 | Operators hold required licences | ☐ | ☐ | ☐ |  |
| 3 | Exclusion zones and spotters for mobile plant | ☐ | ☐ | ☐ |  |
| 4 | Reversing alarms and lights working | ☐ | ☐ | ☐ |  |
| 5 | Guards fitted to saws, grinders and other power tools | ☐ | ☐ | ☐ |  |
| 6 | Registered plant documents on site where required | ☐ | ☐ | ☐ |  |
| 7 | Lifting gear inspected and tagged | ☐ | ☐ | ☐ |  |
| 8 | Plant kept clear of overhead powerlines | ☐ | ☐ | ☐ |  |

5. Electrical

| # | Check | Yes | No | N/A | Comments / action |
| --- | --- | --- | --- | --- | --- |
| 1 | Temporary switchboard secured, weatherproof and labelled | ☐ | ☐ | ☐ |  |
| 2 | Residual current devices in use and tested | ☐ | ☐ | ☐ |  |
| 3 | Leads and tools tested and tagged, tags current | ☐ | ☐ | ☐ |  |
| 4 | Leads elevated off the ground and out of water and traffic | ☐ | ☐ | ☐ |  |
| 5 | No damaged leads, plugs or double adaptors | ☐ | ☐ | ☐ |  |
| 6 | Overhead and underground services identified and marked | ☐ | ☐ | ☐ |  |

6. Excavations and ground

| # | Check | Yes | No | N/A | Comments / action |
| --- | --- | --- | --- | --- | --- |
| 1 | Underground services located before digging (Before You Dig Australia) | ☐ | ☐ | ☐ |  |
| 2 | Excavations protected: shoring, benching or battering as designed | ☐ | ☐ | ☐ |  |
| 3 | Spoil and materials kept back from edges | ☐ | ☐ | ☐ |  |
| 4 | Barriers and signage around excavations | ☐ | ☐ | ☐ |  |
| 5 | Safe access and egress from trenches | ☐ | ☐ | ☐ |  |
| 6 | Excavations inspected after rain or ground movement | ☐ | ☐ | ☐ |  |

7. Health, hazardous materials and housekeeping

| # | Check | Yes | No | N/A | Comments / action |
| --- | --- | --- | --- | --- | --- |
| 1 | Dust controlled at the source when cutting (extraction, water, score-and-snap) | ☐ | ☐ | ☐ |  |
| 2 | Respiratory protection available and worn where required | ☐ | ☐ | ☐ |  |
| 3 | Asbestos register sighted for existing buildings; suspect material left alone | ☐ | ☐ | ☐ |  |
| 4 | Hazardous chemicals stored correctly with current safety data sheets | ☐ | ☐ | ☐ |  |
| 5 | Hearing protection used for noisy work | ☐ | ☐ | ☐ |  |
| 6 | Heat and sun: shade, water and rest breaks available | ☐ | ☐ | ☐ |  |
| 7 | Walkways and work areas clear of rubbish and offcuts | ☐ | ☐ | ☐ |  |
| 8 | Nails, reo and sharp edges capped or removed | ☐ | ☐ | ☐ |  |
| 9 | Waste bins not overfull; waste separated | ☐ | ☐ | ☐ |  |
| 10 | Materials stacked stably and within safe heights | ☐ | ☐ | ☐ |  |
| 11 | Adequate lighting for work areas and access | ☐ | ☐ | ☐ |  |

8. First aid, emergency and amenities

| # | Check | Yes | No | N/A | Comments / action |
| --- | --- | --- | --- | --- | --- |
| 1 | First aid kit stocked and accessible | ☐ | ☐ | ☐ |  |
| 2 | Trained first aider identified | ☐ | ☐ | ☐ |  |
| 3 | Emergency plan and contact numbers displayed | ☐ | ☐ | ☐ |  |
| 4 | Fire extinguishers in date and accessible, especially near hot work | ☐ | ☐ | ☐ |  |
| 5 | Assembly point signed | ☐ | ☐ | ☐ |  |
| 6 | Toilets clean and serviced | ☐ | ☐ | ☐ |  |
| 7 | Drinking water available | ☐ | ☐ | ☐ |  |
| 8 | Meal area and hand-washing available | ☐ | ☐ | ☐ |  |
| 9 | SWMS on site for all current high-risk work | ☐ | ☐ | ☐ |  |
| 10 | Induction records current for everyone on site | ☐ | ☐ | ☐ |  |

9. Actions required

| Item # | Issue found | Action | Risk | Owner | Due | Closed |
| --- | --- | --- | --- | --- | --- | --- |

10. Sign-off

| Inspector signature |  | Date |  |
| --- | --- | --- | --- |
| Actions from last inspection closed? |  | Next inspection due |  |